## Sheet1
READ Commands (get_*)	WRITE Commands (set_*)
Method	Command	Parameter Name	CMD Group	Data Range	Data Range2	Description	Description2	Format
get_digital_output_alarm()	RAD	Digital Output at Alarm	Alarm Settings	+00000 to +00001	Hold/Fixed	Read alarm output behavior	0=Hold, 1=Fixed	Format 1
set_digital_output_alarm()	WAD	Digital Output at Alarm	Alarm Settings	+00000 to +00001	Hold/Fixed	Set alarm output behavior	0=Hold, 1=Fixed	Format 1
get_sampling_cycle()	RSP	Sampling Cycle	Basic Settings	+00000 to +00003	200µs to 2ms	Read sampling interval	200µs/500µs/1ms/2ms intervals	Format 1
get_shutter_time()	RFB	Shutter Time	Basic Settings	+00000 to +00031	Auto or fixed (00-31)	Read shutter time setting	Auto (00) or fixed shutter times	Format 1
get_buffer_rate()	RBR	Buffer rate	Buffering	+00001 to +65535		Read buffer rate
set_accumulated_amount()	WBC	Buffer rate	Buffering	+00001 to +03000		Set max buffer size
get_buffering_status()	RTS	Buffer state	Buffering	+00000 to +00003		Get buffer state
set_buffering_rate()	WBR	Buffer state	Buffering	+00001 to +65535		Set buffer rate
get_buffering_operation()	RBS	Buffering active	Buffering	+00000 to +00001		Check if buffering is active
set_buffering_operation()	WBS	Buffering active	Buffering	+00000 to +00001		Start/stop buffering
get_buffering_mode()	RBD	Buffering Mode	Buffering	+00000 to +00001	Continuous/Trigger	Check buffering mode	0=Continuous, 1=Trigger mode	Format 1
set_buffering_mode()	WBD	Buffering Mode	Buffering	+00000 to +00001	Continuous/Trigger	Set buffering mode	0=Continuous, 1=Trigger mode	Format 1
get_accumulated_amount()	RBC	Max buffer size	Buffering	+00001 to +03000		Read max buffer size
set_trigger_point()	WTP	Max buffer size	Buffering	+00001 to +03000		Set trigger position in buffer
get_trigger_delay()	RTL	Trigger delay	Buffering	+00000 to +65535		Read trigger delay
get_trigger_point()	RTP	Trigger position in buffer	Buffering	+00001 to +03000		Read trigger position in buffer
set_trigger_delay()	WTL	Trigger position in buffer	Buffering	+00000 to +65535		Set trigger delay
get_last_datapoint()	RLD	Last data point index	Data Processing	+00001 to +03000		Read last data point index
get_offset()	RML	Offset	Data Processing	-9500000 to +9500000	-950.0000 to +950.0000mm	Read offset value	Signed 7-digit value in mm	Format 2
set_offset()	WML	Offset	Data Processing	-9500000 to +9500000	-950.0000 to +950.0000mm	Set offset value	Signed 7-digit value in mm	Format 2
get_zero_set()	RZS	Zero Set	Data Processing	+00000 to +00001	OFF/ON	Check zero calibration state	0=OFF, 1=ON	Format 1
set_zero_set()	WZS	Zero Set	Data Processing	+00000 to +00001	OFF/ON	Enable/disable zero calibration	0=OFF, 1=ON	Format 1
get_alarm_status()	ROA	Alarm Status	Read Commands	+00000 to +00001	OFF/ON	Check alarm state	0=OFF, 1=ON	Format 1
get_measurement()	RMD	Measurement Value	Read Commands	-9500000 to +9500000	-950.0000 to +950.0000mm	Read current displacement	Current displacement in mm	Format 2
check_error()	–	Parse error codes (e.g., !01=Command error)	Special
read_data()	RLA	Read buffered data (returns list)	Special
get_all_outputs_read()	RMB	All outputs	System Settings			Read all outputs
get_timing_input()	RTI	Timing Input Status	System Settings	+00000 to +00001	OFF/ON	Check timing input state	0=Disabled, 1=Enabled	Format 1
set_timing_input()	WTI	Timing Input Status	System Settings	+00000 to +00001	OFF/ON	Enable/disable timing input	0=Disabled, 1=Enabled	Format 1
get_timing_mode()	RTM	Timing Mode	System Settings	+00000 to +00001	Hold/One-shot	Read timing mode	0=Hold, 1=One-shot	Format 1
set_timing_mode()	WTM	Timing Mode	System Settings	+00000 to +00001	Hold/One-shot	Set timing mode	0=Hold, 1=One-shot	Format 1
get_trigger_conditions()	RTR	Trigger Conditions	Triggering	+00000 to +00004	Multiple trigger types	Read trigger condition	0=Timing input, 1=Threshold exceeded	Format 1
set_trigger_threshold()	WBL	Trigger Conditions	Triggering	-9500000 to +9500000		Set trigger threshold
set_trigger_conditions()	WTR	Trigger delay	Triggering	+00000 to +00004	Multiple trigger types	Set trigger condition	0=Timing input, 3=Alarm occurred	Format 1
get_trigger_threshold()	RBL	Trigger threshold	Triggering	-9500000 to +9500000		Read trigger threshold