## Sheet1
READ Commands (get_*) | WRITE Commands (set_*)
Method | Command | Parameter Name | CMD Group | Data Range | Data Range2 | Description1 | Description2 | Format
get_digital_output_alarm() | RAD | Digital Output at Alarm | Alarm Settings | +00000 to +00001 | Hold/Fixed | Read alarm output behavior | 0=Hold, 1=Fixed | Format 1
set_digital_output_alarm() | WAD | Digital Output at Alarm | Alarm Settings | +00000 to +00001 | Hold/Fixed | Set alarm output behavior | 0=Hold, 1=Fixed | Format 1
get_sampling_cycle() | RSP | Sampling Cycle | Basic Settings | +00000 to +00003 | 200µs to 2ms | Read sampling interval | 200µs/500µs/1ms/2ms intervals | Format 1
get_shutter_time() | RFB | Shutter Time | Basic Settings | +00000 to +00031 | Auto or fixed (00-31) | Read shutter time setting | Auto (00) or fixed shutter times | Format 1
get_buffer_rate() | RBR | Buffer rate | Buffering | +00001 to +65535 |  | Read buffer rate
set_accumulated_amount() | WBC | Buffer rate | Buffering | +00001 to +03000 |  | Set max buffer size
get_buffering_status() | RTS | Buffer state | Buffering | +00000 to +00003 |  | Get buffer state
set_buffering_rate() | WBR | Buffer state | Buffering | +00001 to +65535 |  | Set buffer rate
get_buffering_operation() | RBS | Buffering active | Buffering | +00000 to +00001 |  | Check if buffering is active
set_buffering_operation() | WBS | Buffering active | Buffering | +00000 to +00001 |  | Start/stop buffering
get_buffering_mode() | RBD | Buffering Mode | Buffering | +00000 to +00001 | Continuous/Trigger | Check buffering mode | 0=Continuous, 1=Trigger mode | Format 1
set_buffering_mode() | WBD | Buffering Mode | Buffering | +00000 to +00001 | Continuous/Trigger | Set buffering mode | 0=Continuous, 1=Trigger mode | Format 1
get_accumulated_amount() | RBC | Max buffer size | Buffering | +00001 to +03000 |  | Read max buffer size
set_trigger_point() | WTP | Max buffer size | Buffering | +00001 to +03000 |  | Set trigger position in buffer
get_trigger_delay() | RTL | Trigger delay | Buffering | +00000 to +65535 |  | Read trigger delay
get_trigger_point() | RTP | Trigger position in buffer | Buffering | +00001 to +03000 |  | Read trigger position in buffer
set_trigger_delay() | WTL | Trigger position in buffer | Buffering | +00000 to +65535 |  | Set trigger delay
get_last_datapoint() | RLD | Last data point index | Data Processing | +00001 to +03000 |  | Read last data point index
get_offset() | RML | Offset | Data Processing | -9500000 to +9500000 | -950.0000 to +950.0000mm | Read offset value | Signed 7-digit value in mm | Format 2
set_offset() | WML | Offset | Data Processing | -9500000 to +9500000 | -950.0000 to +950.0000mm | Set offset value | Signed 7-digit value in mm | Format 2
get_zero_set() | RZS | Zero Set | Data Processing | +00000 to +00001 | OFF/ON | Check zero calibration state | 0=OFF, 1=ON | Format 1
set_zero_set() | WZS | Zero Set | Data Processing | +00000 to +00001 | OFF/ON | Enable/disable zero calibration | 0=OFF, 1=ON | Format 1
get_alarm_status() | ROA | Alarm Status | Read Commands | +00000 to +00001 | OFF/ON | Check alarm state | 0=OFF, 1=ON | Format 1
get_measurement() | RMD | Measurement Value | Read Commands | -9500000 to +9500000 | -950.0000 to +950.0000mm | Read current displacement | Current displacement in mm | Format 2
check_error() | – | Parse error codes (e.g., !01=Command error) | Special
read_data() | RLA | Read buffered data (returns list) | Special
get_all_outputs_read() | RMB | All outputs | System Settings |  |  | Read all outputs
get_timing_input() | RTI | Timing Input Status | System Settings | +00000 to +00001 | OFF/ON | Check timing input state | 0=Disabled, 1=Enabled | Format 1
set_timing_input() | WTI | Timing Input Status | System Settings | +00000 to +00001 | OFF/ON | Enable/disable timing input | 0=Disabled, 1=Enabled | Format 1
get_timing_mode() | RTM | Timing Mode | System Settings | +00000 to +00001 | Hold/One-shot | Read timing mode | 0=Hold, 1=One-shot | Format 1
set_timing_mode() | WTM | Timing Mode | System Settings | +00000 to +00001 | Hold/One-shot | Set timing mode | 0=Hold, 1=One-shot | Format 1
get_trigger_conditions() | RTR | Trigger Conditions | Triggering | +00000 to +00004 | Multiple trigger types | Read trigger condition | 0=Timing input, 1=Threshold exceeded | Format 1
set_trigger_threshold() | WBL | Trigger Conditions | Triggering | -9500000 to +9500000 |  | Set trigger threshold
set_trigger_conditions() | WTR | Trigger delay | Triggering | +00000 to +00004 | Multiple trigger types | Set trigger condition | 0=Timing input, 3=Alarm occurred | Format 1
get_trigger_threshold() | RBL | Trigger threshold | Triggering | -9500000 to +9500000 |  | Read trigger threshold