## Sheet1
READ Commands (get_*) ¦ WRITE Commands (set_*)
Method | Command | R/W | Parameter number | Parameter Name | CMD Group | Data Range | Data Range2 | Description1 | Description2 | Format
check_error() | – | special | 0 | Parse error codes (e.g., !01=Command error) | !Special
get_digital_output_alarm() | RAD |  | 1 | Digital Output at Alarm | Alarm Settings | +00000 to +00001 | Hold/Fixed | Read alarm output behavior | 0=Hold, 1=Fixed | Format 1
set_digital_output_alarm() | WAD | RAD | 2 | Digital Output at Alarm | Alarm Settings | +00000 to +00001 | Hold/Fixed | Set alarm output behavior | 0=Hold, 1=Fixed | Format 1
get_sampling_cycle() | RSP |  | 3 | Sampling Cycle | Basic Settings | +00000 to +00003 | 200µs to 2ms | Read sampling interval | 0 = 200 [μs], 1 = 500 [μs], 2 = 1 [ms], 3 = 2 [ms] | Format 1
set_sampling_cycle() | WSP | RSP | 4 | Sampling Cycle | Basic Settings | +00000 to +00003 | 200µs to 2ms | Set sampling interval | 0 = 200 [μs], 1 = 500 [μs], 2 = 1 [ms], 3 = 2 [ms]
get_shutter_time() | RFB |  | 5 | Shutter Time | Basic Settings | +00000 to +00031 | Auto or fixed (00-31) | Read shutter time setting | Auto (00) or fixed shutter times | Format 1
set_shutter_time() | WFB | RFB | 6 | Shutter Time | Basic Settings | +00000 to +00032 | Auto or fixed (00-31) | Set shutter time setting | Auto (00) or fixed shutter times
get_buffer_rate() | RBR |  | 7 | Buffer rate | Buffering | +00001 to +65535 |  | Read buffer rate
set_buffering_rate() | WBR | RBR | 8 | Buffer rate | Buffering | +00001 to +65535 |  | Set buffer rate
get_buffering_status() | RTS | Read-only | 9 | Buffer state | Buffering | +00000 to +00003 |  | Get buffer state
get_buffering_operation() | RBS |  | 10 | Buffering active | Buffering | +00000 to +00001 |  | Check if buffering is active
set_buffering_operation() | WBS | RBS | 11 | Buffering active | Buffering | +00000 to +00001 |  | Start/stop buffering
get_buffering_mode() | RBD |  | 12 | Buffering Mode | Buffering | +00000 to +00001 | Continuous/Trigger | Check buffering mode | 0=Continuous, 1=Trigger mode | Format 1
set_buffering_mode() | WBD | RBD | 13 | Buffering Mode | Buffering | +00000 to +00001 | Continuous/Trigger | Set buffering mode | 0=Continuous, 1=Trigger mode | Format 1
get_accumulated_amount() | RBC |  | 14 | Max buffer size | Buffering | +00001 to +03000 |  | Read max buffer size
set_accumulated_amount() | WBC | RBC | 15 | Max buffer size | Buffering | +00001 to +03000 |  | Set max buffer size
read_data() | RLA | Read-only | 16 | Read buffered data (returns list) | Buffering
read_data_dif() | RLB
read_data_bin() | RLC
get_trigger_delay() | RTL |  | 17 | Trigger delay | Buffering | +00000 to +65535 |  | Read trigger delay
set_trigger_delay() | WTL | RTL | 18 | Trigger delay | Buffering | +00000 to +65535 |  | Set trigger delay
get_trigger_point() | RTP |  | 19 | Trigger position in buffer | Buffering | +00001 to +03000 |  | Read trigger position in buffer
set_trigger_point() | WTP | RTP | 20 | Trigger position in buffer | Buffering | +00001 to +03000 |  | Set trigger position in buffer
get_last_datapoint() | RLD | Read-only | 21 | Last data point index | Data Processing | +00001 to +03000 |  | Read last data point index
get_offset() | RML |  | 22 | Offset | Data Processing | -9500000 to +9500000 | -950.0000 to +950.0000mm | Read offset value | Signed 7-digit value in mm | Format 2
set_offset() | WML | RML | 23 | Offset | Data Processing | -9500000 to +9500000 | -950.0000 to +950.0000mm | Set offset value | Signed 7-digit value in mm | Format 2
get_zero_set() | RZS |  | 24 | Zero Set | Data Processing | +00000 to +00001 | OFF/ON | Check zero calibration state | 0=OFF, 1=ON | Format 1
set_zero_set() | WZS | RZS | 25 | Zero Set | Data Processing | +00000 to +00001 | OFF/ON | Enable/disable zero calibration | 0=OFF, 1=ON | Format 1
get_alarm_status() | ROA | Read-only | 26 | Alarm Status | Read Commands | +00000 to +00001 | OFF/ON | Check alarm state | 0=OFF, 1=ON | Format 1
get_measurement() | RMD | Read-only | 27 | Measurement Value | Read Commands | -9500000 to +9500000 | -950.0000 to +950.0000mm | Read current displacement | Current displacement in mm | Format 2
get_all_outputs_read() | RMB | Read-only | 28 | All outputs | System Settings |  |  | Read all outputs
get_timing_input() | RTI |  | 29 | Timing Input Status | System Settings | +00000 to +00001 | OFF/ON | Check timing input state | 0=Disabled, 1=Enabled | Format 1
set_timing_input() | WTI | RTI | 30 | Timing Input Status | System Settings | +00000 to +00001 | OFF/ON | Enable/disable timing input | 0=Disabled, 1=Enabled | Format 1
get_timing_mode() | RTM |  | 31 | Timing Mode | System Settings | +00000 to +00001 | Hold/One-shot | Read timing mode | 0=Hold, 1=One-shot | Format 1
set_timing_mode() | WTM | RTM | 32 | Timing Mode | System Settings | +00000 to +00001 | Hold/One-shot | Set timing mode | 0=Hold, 1=One-shot | Format 1
get_trigger_conditions() | RTR |  | 33 | Trigger Conditions | Triggering | +00000 to +00004 | Multiple trigger types | Read trigger condition | 0=Timing input, 1=Threshold exceeded | Format 1
set_trigger_conditions() | WTR | RTR | 34 | Trigger Conditions | Triggering | +00000 to +00004 | Multiple trigger types | Set trigger condition | 0=Timing input, 3=Alarm occurred | Format 1
get_trigger_threshold() | RBL |  | 35 | Trigger threshold | Triggering | -9500000 to +9500000 |  | Read trigger threshold
set_trigger_threshold() | WBL | RBL | 36 | Trigger threshold | Triggering | -9500000 to +9500000 |  | Set trigger threshold